## Sheet1
Sensor Testing for Water Weather Project
Base on a 64 sample for each run
Tempature Sensor | Buoy Result | Device Result | Difference | Approve? | Salinity Sensor | Buoy Result | Device Result | Device Result | raw |  | Difference | Approve? | Turbidity Sensor | Buoy Result | Device Result | Device Result | Difference | Approve?
Tests | Unit (c) | Unit (c) |  |  | Tests | Unit (ppt) | Unit (ppt) | Unit(ppt) |  |  |  |  | Tests | Unit (ntu) | Unit (ntu) | Unit (ntu)
Test 1 | 18.23 | 18.5 | 1.4811 | ✅ | Test 1 | 12.46 | 12.6 | 12.57 | 0.14 | 0.011111 | 1.1236 | ✅ | Test 1 | 676 | 678 | 681 | 0.29586 | ✅
Test 2 | 18.34 | 18.5 | 0.87241 | ✅ | Test 2 | 12.58 | 12.6 | 12.57 | 0.02 | 0.0015873 | 0.15898 | ✅ | Test 2 | 675 | 678 | 681 | 0.44444 | ✅
Test 3 | 18.54 | 18.5 | 0.21575 | ✅ | Test 3 | 12.68 | 12.6 | 12.57 | -0.08 | -0.0063492 | 0.63091 | ✅ | Test 3 | 657 | 678 | 681 | 3.1963 | ✅
Test 4 | 23.83 | 24.8 | 4.0705 | ✅ | Test 4 | 12.47 | 12.6 | 12.57 | 0.13 | 0.010317 | 1.0425 | ✅ | Test 4 | 1030 | 1034 | 1032 | 0.38835 | ✅
Test 5 | 24.01 | 24.8 | 3.2903 | ✅ | Test 5 | 8.28 | 8.23 | 8.23 | -0.05 | -0.0060753 | 0.60386 | ✅ | Test 5 | 1031 | 1034 | 1032 | 0.29098 | ✅
Test 6 | 23.78 | 24.8 | 4.2893 | ✅ | Test 6 | 8.27 | 8.23 | 8.23 | -0.04 | -0.0048603 | 0.48368 | ✅ | Test 6 | 1033 | 1034 | 1032 | 0.096805 | ✅
Test 7 | 17.02 | 17.2 | 1.0576 | ✅ | Test 7 | 8.25 | 8.23 | 8.23 | -0.02 | -0.0024301 | 0.24242 | ✅ | Test 7 | 1033 | 1034 | 1032 | 0.096805 | ✅
Test 8 | 17.52 | 17.2 | 1.8265 | ✅ | Test 8 | 8.26 | 8.23 | 8.23 | -0.03 | -0.0036452 | 0.3632 | ✅ | Test 8 | 1476 | 1476 | 1473 | 0 | ✅
Test 9 | 16.98 | 17.2 | 1.2956 | ✅ | Test 9 | 14.96 | 14.98 | 14.97 | 0.02 | 0.0013351 | 0.13369 | ✅ | Test 9 | 1475 | 1476 | 1473 | 0.067797 | ✅
Test 10 | 17.93 | 18.6 | 3.7368 | ✅ | Test 10 | 14.97 | 14.98 | 14.97 | 0.01 | 0.00066756 | 0.0668 | ✅ | Test 10 | 1478 | 1476 | 1473 | 0.13532 | ✅
Test 11 | 18.45 | 18.6 | 0.81301 | ✅ | Test 11 | 14.97 | 14.98 | 14.97 | 0.01 | 0.00066756 | 0.0668 | ✅ | Test 11 | 1474 | 1476 | 1473 | 0.13569 | ✅
Test 12 | 18.36 | 18.6 | 1.3072 | ✅ | Test 12 | 14.95 | 14.98 | 14.97 | 0.03 | 0.0020027 | 0.20067 | ✅ | Test 12 | 1478 | 1476 | 1473 | 0.13532 | ✅